## Slide 1: Curb and Gutter
Under Construction
Completed
http://www.sscsitework.com/Photo-Gallery.html
http://www.ellsworthinc.com/concretework.html

## Slide 2: Curb and Gutter Formwork
http://overmanconcrete.com/concrete-services.html

## Slide 3: Curb and Gutter Machine
http://overmanconcrete.com/concrete-services.html

## Slide 4: Gutter Flow
d
T
Sx
1
Q = flow in gutter (cfs)
Cf = coefficient (0.56 for US units, 0.376 for SI units
So = longitudinal slope
T = spread (ft)
Sx = transverse slope
Ref: SCMD p. 372

## Slide 5: City of Austin Drainage Criteria for Minimum Clear Width
City of Austin, Drainage Criteria Manual, Section 3

## Slide 6: Flow into a Curb Inlet
LT = required length to intercept all flow (ft)
Q = flow in gutter (cfs)
Cf = coefficient (0.60 for US units, 0.817 for SI units)
So = longitudinal slope
T = spread (ft)
Sx = transverse slope
Ref: SCMD p. 393
E = efficiency (proportion of flow captured
L = actual length (ft) (for L < LT)
LT

## Slide 7: City of Austin Criteria for Inlets

## Slide 8
Storm Drain Manhole
http://www.lbiw.com/article/resources/agencystandardplandrawings/agencystandardplandrawings.html?region=CITY%20OF%20PASO%20ROBLES/E-7.1%20-%20STORM%20DRAIN%20MANHOLE.pdf
http://www.kanapipeline.com/images/manhole-cone.html

## Slide 9: Storm Sewer Flow